## Workbook Content
Carbon Neutral by 2030: Planning Workbook Contents
Sheet | Description
1 | Green Team Contact List
2a | Interfaith Power and Light (IPL) "Cool Congregations" Carbon Calculator Survey Inputs
2b | IPL "Cool Congregations" Survey Results
3 | Energy for Purpose (EfP) Facility Energy Assessment Results and Recommendations Summary
4a | Carbon Footprint Results by Category and Initial Considerations
4b | Phasing of Facility Energy Cost Reduction Measures (Short-range, Mid-, and Long-range Measures)
4c | Carbon Neutral Plan Opportunities by Category and Next Steps
SAMPLE APPROACH AND TOOL

## 1. Green Team
Trinity Cathedral Green Team Members
Name | Email | Phone | Notes
Clergy Contact
Vestry Contact
Convener

## 2a. IPL Survey Inputs
2022- 2023 InterFaith Power and Light Carbon Foot Print Calculator: Survey Inputs and Assumptions
CMT 06-28-23 | Units | Total | Notes | April | May | June | July | August | September | October | November | December | January | Feburary | March
Electricty | kWh | 122071 | Period from April 2022 through March 2023 | 6223 | 10489 | 15304 | 15814 | 16659 | 15735 | 8695 | 6605 | 6927 | 6936 | 6406 | 6278
Renewable Energy | % of Total | 33.6 | Based on SMUD 2021 Power Content Label for CA Power Mix
Natural Gas | cu ft | 491781.944 | Bill is in therms, used 99.976 cu ft/therm for conversion | 174 | 120 | 65 | 65 | 61 | 76 | 80 | 857 | 1277 | 1056 | 781 | 307
Other Fuel | gallons | 0
Water & Wastewater | dollars | 6596.94 | Two meters on site, did not include meter for Easter Park | 445.34 | 484.37 | 509.73 | 562.68 | 497.12 | 500.44 | 526.57 | 603.57 | 503.42 | 491.74 | 503.28 | 504.02
Solid Waste | tons | 70.122 | One 3 yard dumpster 3x per week, one 2 yard mixed recycling 1x week
Paper Recycled | % | 25% | Assumption that 25% of paper (mostly Sunday Svc leaflet) is recycled
Metal Recycled | % | 25% | Assumption that 25% of paper (mostly Sunday Svc leaflet) is recycled
Plastic Recycled | % | 25% | Assumption that 25% of paper (mostly Sunday Svc leaflet) is recycled
Glass Recycled | % | 25% | Assumption that 25% of paper (mostly Sunday Svc leaflet) is recycled
Note: Assumption NOT based on total waste, but amt. consumed
Typical Visitors/Attendace/Facility Use
Worship (Avg. Sunday) |  | 268 | Per Week
All visitors |  | 575 | Per week: meetings, ministry teams, choir rehearsals, weddings, memorials, NA, AA, HART, community dinners, etc.
Paid Staff |  | 10
Volunteers |  | 25
| Total/Week | 878
Commutes
Air Travel | 14400 |  | 3 staff at 4,800 Miles RT to Virginia Conference (2023)
Commutes (Staff)
1 walk - 0 miles |  | 0
1 EV (Megan) @50 RT |  | 12500 | Megan Elec car, 50 weeks, 5 days/week 50 miles RT
Office (8 at 10 mpd) |  | 20000 | Eight staff within 10 miles RT (50 miles/week) and 50 weeks/yr.
Visitor Transportation |  |  | Assumptions
Visitor Travel Distance Average |  | 5 miles | Most attendees in Sac City or County; Assume 10 Miles RT on Sunday
(Many in neighborhood, some as far as Fair Oaks. 5 miles seems right.
Bike walk and transit |  | 0.05 | Neighborhood, Uber, Bike
Electric Vehicles |  | 0.03 | Few observed in garage - 3%?.
People per vehicle |  | 1.5 | This is default, ours could be lower.
Responsibility for Vehicles |  | 0.5 | Used default of 50% or amount of responsibility we could take for this.
Food - |  |  | Assumptions
Meals per Week |  | 1 | We do 1 meal/week on Wednesday for unhoused (coffee hr. doesn't count.)
Red meat |  | 50 | About 50 attendees each week. Serve chili, burgers, others. Conservative Assumption used.
Chickn, fish, eggs |  | 0 | (Presumably we serve meat , chili, etc.)
Other meat |  |  | Stuck to conservative estimate of all red meat
Grains and Bread |  | 50 | Part of Meal
Other food and drink |  | 50 | Part of Meal
Square Footage
Great Hall Bldg with Mezzanine |  | 6510
Capital Avenue Bldg |  | 11000
Nursery Bldg |  | 915
Sanctuary |  | 8300
| Total (Sq. Ft.) | 26725

## 2b. IPL Survey Outputs
Carbon Footprint for Trinity Cathedaral (2022-2023)
Interfaith Power and Light Cool Congregations Calculator Survey Results and Output

## 3. EfP Facility Enery Summary
Energy for Purpose Facility Report Summary: Recommendations, Cost Savings, and Payback
Energy Cost Reduction Measures (ERCMs)
ERCM No. | Project Name/Description | Investment/Cost ($) | Annual Savings ($) | Payback (Years)
1 and 2 | Controls and Scheduling: Change sequence of 0perations | 3000 | 3000 | 1
3 | HVAC: Replace older HVAC units | 157500 | 10500 | 15
4 | Lighting: Replace/change older lamps to LED | 5410 | 1082 | 5
5 | Building Envelope: Upgrade doors, windows and insulation | 5350 | 535 | 10
6 | Reduce water temperatures, turn off lights, install plug load adaptors | -- | 250 | 0
| TOTAL | 171260 | 15367 | 15
Current Energy Cost = $39,1777
Project Energy Savings = 39.22%
Source: | Energy Study: Trinity Cathedral, Sacramento, CA.
Study conducted by Colby May, Energy for Purpose, August 3, 2023.

## 4a. Plan Dev. Data & Opps.
Carbon Footprint Inventory Results by Category (MT CO2) and Initial Considerations
Facility Use
Carbon Emissions Source |  |  |  | Emissions | % of Category | % of Total Footprint
Electricity |  |  |  | 26.94 | 28.27% | 15.89%
Natural Gas |  |  |  | 26.9 | 28.23% | 15.87%
Solid Waste |  |  |  | 6.38 | 6.695% | 3.764%
Construction/Heavy Maintenance |  |  |  | 13.63 | 14.3% | 8.041%
Water and Wastewater |  |  |  | 21.45 | 22.51% | 12.65%
|  |  | Total | 95.3 |  | 56.22%
Initial Thoughts and Considerations
1 | Facility Operations is the greatest source of carbon emissions/portion of our footprint.
2 | EFP recommends measures to reduce electrical use by 1/3.
3 | EFP recommends replacing gas-fueled equipment with electrical equipment.
However, replacing gas heat with electrical heat will increase peak demand/billing rate.
4 | Facility Operations retrofits/improvements could be phased over time.
Transportation
Carbon Emissions Source |  |  |  | Emissions | % of Category | % of Total Footprint
Visitor Trips to Church (Sunday Services, Meetings, etc.) |  |  |  | 36.25 | 71.65% | 21.39%
Paid staff commutes using cars (fossil fuel) |  |  |  | 9.72 | 19.21% | 5.735%
Staff commutes using EV/hybrids |  |  |  | 1.4 | 2.767% | 0.826%
Visitor Trips using EV/hybrids |  |  |  | 0.01 | 0.01977% | 0.0059%
Air travel by staff (e.g., General Convention) |  |  |  | 3.21 | 6.345% | 1.894%
|  |  | Total | 50.59 |  | 29.85%
Initial Thoughts and Considerations
1 | The greatest contributor--even more than electricity and natural gas use is visitor
trips to worship and meet at Church.
2 | While Zoom is an energy saver in terms of transportation and facility use.
not all meetings can be held virtually (e.g., choir, 12-step groups, etc.)
3 | Trinity can encourage congregation members to use alternative modes or purchase EV/hybrid
as part of its Creation Care ministry.
4 | The Vestry will need to consider how much responsibility it is willing to accept/include
in its carbon budget for visitor travel to/from church.
5 | Outreach trips have not been included in this total (home visits, hospital visits, etc.).
6 | Off-sets may be suitable for essential activities, once those activities are identified
(tree planting, carbon credits, etc.)
Food (Based on Weekly Community Dinners only)
Item/Activity | Carbon Emission Source |  |  | Emissions | % of Category | % of Total Footprint
Serving red meat as part of weekly meal |  |  |  | 3.56 | 50.07% | 2.1%
Serving dairy products as part of weekly meal |  |  |  | 1.25 | 17.58% | 0.7375%
Serving grains and bread as part of meal |  |  |  | 0.55 | 7.736% | <1%
Serving fruits and vegetables |  |  |  | 0.6 | 8.439% | 0.354%
Other Food and Drinks |  |  |  | 1.15 | 16.17% | 0.6785%
|  |  | Total | 7.11 |  | 4.195%
Initial Thoughts and Considerations
1 | Our weekly dinner is an important ministry to our unhoused community.
2 | Eliminating red meat from meals would reduce the carbon footprint by 2%
3 | Meal service sometimes relies on canned/prepared food, such as canned soup, chili, etc.
Procurement/Commodities/Supplies
Carbon Emission Source |  |  |  | Emissions | % of Category | % of Total Footprint
Printing Services |  |  |  | 2.6 | 14.79% | 1.534%
Supplies |  |  |  | 3.05 | 17.35% | 1.799%
Routine Maintenance |  |  |  | 2.06 | 11.72% | 1.215%
Textiles |  |  |  | 1.65 | 9.386% | 0.9735%
Electronics |  |  |  | 0.96 | 5.461% | 0.5664%
Furniture and Appliances |  |  |  | 1.38 | 7.85% | 0.8142%
Paper Products |  |  |  | 2.19 | 12.46% | 1.292%
Other Goods and Services |  |  |  | 3.69 | 20.99% | 2.177%
|  |  | Total | 17.58 |  | 10.37%
Initial Thoughts and Considerations
1 | Printing comprises just under 15% of this category prior to recycling, and paper reduction is ongoing.
2 | Paper products include napkins and paper plates, etc., which are part of our ministry as well as
coffee hour. The use of disposable paper products recommended during COVID, health reasons, etc.
Reductions
Carbon Offset |  |  |  | Emissions | % of Category | % of Total Footprint
Recycling |  |  |  | -1.08 | 100% | <1%
Carbon Offsets |  |  |  | 0 | 0 | 0
|  |  | Total | -1.08 |  | <1%
Initial Thoughts and Considerations
1 | Paper recycling is the only off-set we currently have, but it accounts for half of our printing service emissions.
|  | GRAND TOTAL EMISSIONS |  | 169.5 |  | 100%
OVERALL CONCLUSIONS, OPPORTUNITIES, AND CHALLENGES
Facility Operations
1 | Facility Operations is the greatest contributor to our carbon footprint (56% of our total)
2 | The greatest contributor to carbon emissions from facility operations is associated with HVAC, and emissions from electricity and gas are equal.
However, we would reduce our carbon footprint by switching from gas to all electric HVAC
3 | While HVAC improvements will achieve the greatest savings, they are the most expensive retrofits identifies (see Sheet 3A).
4 | A phased-approach to HVAC retrofits will be required.
Transportation
5 | Transportation associated with visitors traveling to church is estimated to be the next greatest contributor.
We will need to determine the degree of responsibility we accept for the decisions made by visitors and congregation members.
Since travel is required by our mission (visit shut-ins, hospital visits, travel to meetings), off sets will be required.
Food
1 | Hospitality to the unhoused is an important mission.
2 | We will seek alternatives to menu preparation that are healthful but less stressful to the planet.
Procurement
1 | It is unclear which supplies are included in the survey. We will need to conduct further research to determine:
a. Which supplies can be replaced with alternatives that produces fewer emissions
b. Which supplies can be recycled.
c. Which supplies will require offsets to achieve carbon neutrality.
Reductions
1 | Paper recycling has been successful, but more can be done.
2 | Offsets will be required for visitor and clergy travel, meetings held in person, and other activities.
3 | Further research is needed to identify feasible offsets (tree planting, contributing to a mitigation bank, purchase of other carbon credits, etc.)
OTHER THOUGHTS
1 | The Diocesan resolution includes prayerful consideration and efforts at the household level, not just the congregational level.
a. Consider congregation education as part of this process
b. Provide tools for congregation members to include creation care practices in their households.

## 4b. Facility Projects & Phasing
Proposed Phasing of Energy Cost Reduction Measures (ECRMs) and Improvements (An Example)
ECRM No. | Project Name/Description | Investment/Cost ($) | Annual Savings ($) | Payback (Years) | Considerations
1 and 2 | Controls and Scheduling: Change sequence of operations | 3000 | 3000 | 1 | Immediate Payback. Savings can be used to fund other projects. Contractor needed to help with installation. PROPOSE NOW
3 | HVAC: Replace older HVAC units | 157500 | 10500 | 15 | Important improvement to be done soon (will be more expensive later) Budgeting over multiple fiscal years, possible loan required. Contractor bids required. PROPOSE: Fiscal Year 5 (FY 2027-2028)
4 | Lighting: Replace/change older lamps to LED | 5410 | 1082 | 5 | Savings can fund subsequent projects Contractor needed for Installation PROPOSE: Fiscal Year 2 (2025-2026)
5 | Building Envelope: Total $5,350 broken into two phases |  |  |  | Break this into two projects/phases
5a. | Provide weather stripping on doors and windows | 550 | 185 | 1 | Low-cost improvement Current staff/volunteers can implement PROPOSE NOW
5b. | Provide insulation in ceilings on second floor | 4800 | 350 | 10 | Will require vestry approval for expenditure Contractor bids needed. PROPOSE: Fiscal Year 3 (FY 2026-27)
6 | Low-Cost Improvements: Reduce water temp, turn off lights, install plug load adaptors | -- | 250 | <1 | Low cost improvement Current staff/volunteers can implement PROPOSE NOW
| TOTAL | 171260 | 15367 | 15
Current Energy Cost = $39,1777
Project Energy Savings = 39.22%
Project Phasing Key
Short-term implementation: Within 1 year/current fiscal year(2023-2024)
Mid-term implementation: Years 2 to 4 (fiscal years 2025-26 thru 2027-28 )
Long-term implementation (5 years or more).
Source: | Energy Study: Trinity Cathedral, Sacramento, CA.
Study conducted by Colby May, Energy for Purpose, August 3, 2023.

## 4.3 Carbon Reduction Measures
Carbon Neutral Planning Opportunities: Next Steps
Transportation
Carbon Emissions Source |  |  | Emissions | % of Category | % of Total Footprint
Visitor Trips to Church (Sunday Services, Meetings, etc.) |  |  | 36.25 | 71.65% | 21.39%
Paid staff commutes using cars (fossil fuel) |  |  | 9.72 | 19.21% | 5.735%
Staff commute's using EV/hybrids |  |  | 1.4 | 2.767% | 0.826%
Visitor Trips using EV/hybrids |  |  | 0.01 | 0.01977% | 0.0059%
Air travel by staff (e.g., General Convention) |  |  | 3.21 | 6.345% | 1.894%
|  | Total | 50.59 |  | 29.85%
Carbon Reduction Planning Measures
Transportation Planning Measure |  |  |  |  | Timeframe
1 | Identify which emission sources will be managed |  |  |  | 2023-24
2 | Identify Conservation Measures |  |  |  | 2024-25
3 | Identify Carbon Off-set Measures |  |  |  | 2024-25
4 | Undertake Congregation Education |  |  |  | NOW
Hospitality (Based on Weekly Community Dinners only)
Carbon Emission Source |  |  | Emissions | % of Category | % of Total Footprint
Serving red meat as part of weekly meal |  |  | 3.56 | 50.07% | 2.1%
Serving dairy products as part of weekly meal |  |  | 1.25 | 17.58% | 0.7375%
Serving grains and bread as part of meal |  |  | 0.55 | 7.736% | <1%
Serving fruits and vegetables |  |  | 0.6 | 8.439% | 0.354%
Other Food and Drinks |  |  | 1.15 | 16.17% | 0.6785%
|  | Total | 7.11 |  | 4.195%
Hospitality Planning Measure |  |  |  |  | Timeframe
1 | Identify healthful menus that do not rely/reduce reliance on red meat. |  |  |  | 2024-2025
2 | If possible, focus on use of local foods |  |  |  | 2024-2025
3 | Identify feasible carbon off-sets |  |  |  | 2024-2025
Procurement/Commodities/Supplies
Carbon Emission Source |  |  | Emissions | % of Category | % of Total Footprint
Printing Services |  |  | 2.6 | 14.79% | 1.534%
Supplies |  |  | 3.05 | 17.35% | 1.799%
Routine Maintenance |  |  | 2.06 | 11.72% | 1.215%
Textiles |  |  | 1.65 | 9.386% | 0.9735%
Electronics |  |  | 0.96 | 5.461% | 0.5664%
Furniture and Appliances |  |  | 1.38 | 7.85% | 0.8142%
Paper Products |  |  | 2.19 | 12.46% | 1.292%
Other Goods and Services |  |  | 3.69 | 20.99% | 2.177%
|  | Total | 17.58 |  | 10.37%
Procurement Planning Measure |  |  |  |  | Timeframe
1 | Conduct further research to determine: |  |  |  | 2024-2025
a. Which supplies can be replaced with alternatives that produces fewer emissions
b. Which supplies can be recycled.
c. Which supplies will require offsets to achieve carbon neutrality.
2 | Identify vendors/providers with a focus on sustainability/resiliency/ carbon reduction
Reduction Planning Measures
1 | Identify which emissions will require offsets |  |  |  | 2024-2025
2 | Conduct research to identify feasible offsets and providers |  |  |  | 2024-25%
(e.g., tree planting, contributing to a mitigation bank, purchase carbon credits, etc.)
3 | Consider cooperative agreements with other churches, the diocese as a whole, |  |  |  | 2025-2026
or another organization to pool resources for a significant project
(e.g., Mitigation site construction, tree plant project, etc.)