## Slide 1: Carbon Neutral by 2030: Trinity Episcopal Cathedral Sacramento, CA [Sample] Presentation November 2023
Bob Wohlsen
Diocesan Commission on the Environment

## Slide 2: Agenda
Background
Project Process
Carbon Footprint and Facility Assessment Results
Next Steps: Creating a Plan

## Slide 3: Project Background: Creation Care
Church Covenant for the Care of Creation
Loving formation
Liberating advocacy
Life-giving conservation as individuals, congregations, ministries, and dioceses.

## Slide 4: Project Background: Creation Care
Climate Action and Environmental Justice
Respect for God’s Creation
Catastrophic effects of climate change
Disproportionate effects on the poor and marginalized
Increased social disparity
Global instability

## Slide 5: Project Background: National Church and Creation Care
General Convention Resolution A-087 (2022)
“Commit to goal of Net Carbon Neutrality in operations by 2030”
Reducing emissions from travel
Reducing energy use
Increasing energy efficiency
Purchasing offsets

## Slide 6: Project Background: Diocese of Northern California
General Convention Resolution A-087
“Identify Path to Carbon Neutrality by 2030”
Congregations to:
Study and pray discern how the Spirit is leading us to address climate change
Conduct a facility needs assessment
Identify actions needed to become carbon neutral
Diocesan Commission on the Environment to provide support

## Slide 7: Background: What is Carbon Neutrality?
Carbon Neutrality
A balance between the carbon emitted by a facility and the amount of carbon that is absorbed or removed from the atmosphere using offsets.
A two-part equation:
Reducing carbon emissions
Providing offsets to account for the difference (plant trees, purchase carbon credits, etc.)
Energy Audit – Trinity Episcopal Cathedral

## Slide 8: Project Background: Commission on the Environment
Commission Objectives
Provide education and guidance to congregations
Identify a path/process to assess facilities and energy use
Identify resources to help congregations further carbon neutrality by 2030

## Slide 9: Trinity’s Cathedral’s Process and Progress
Four-part Process (Commission)
Form a Green Team
Measure Our Carbon Footprint
Conduct an Energy Study
Develop a Plan for Carbon Neutrality

## Slide 10: Trinity’s Process and Progress
Four-part Process (Commission)
Form a Green Team
Trinity Respecting Earth and Environment (T.R.E.E)

## Slide 11: Trinity’s Process and Progress
Four-part Process (Commission)
Form a Green Team
Measure Our Carbon Footprint
Interfaith Power & Light
Cool Congregations Calculator

## Slide 12: Trinity’s Process and Progress
2022 Emissions 170.6 MT CO2e metric tons CO2e
Facilities 95.3 MT CO2e
Transportation 50.6 MT CO2e Staff + Congregation
Food/Meals 07.1 MT CO2e Includes serving meat
Procurement 17.6 MT CO2e Printing, supplies, maintenance, furniture goods/services, etc.
Facility operations are the greatest emitter of CO2!

## Slide 13: Trinity’s Process and Progress
How much is a metric ton of CO2e?

## Slide 14: Trinity’s Process and Progress
Four-part Process (Commission)
Form a Green Team
Measure Our Carbon Footprint
Conduct an Energy Study
Energy for Purpose Audit (July 2022)
Develop a Plan for Carbon Neutrality

## Slide 15: Trinity’s Energy Study and Results
Energy for Purpose Study (July 2022)
Three-part focus
  Energy Efficiency
  Behavior
  System operations
Analyze utility use and costs
Provide findings and recommendations for reduced and more efficient energy use

## Slide 16: Study Results: Use of Electricity
12-Month Electricity Use (KWH): 2020-2021
32% of electricity is used for cooling

## Slide 17: Study Results: Use of Gas
12-Month Gas Use (Therms): 2020-2021
92% of gas is used for heating

## Slide 18: Study Recommendations
What affects energy use?
Building envelope (insulation, doors and windows, etc.)
Thermostats and controls
Occupancy
Weather conditions
Behavior
Typical Electrical Use

## Slide 19: Recommended Energy Reduction and Control Measures
ERCM No.1: Sequence Operations
Adapt a “Zone Strategy”
  Trinity has 9 HVAC Zones
  Operate HVAC only in used zones
Modify Scheduling
  Use the same zone for adjacent events/meetings
  Adapt or tighten schedules to optimize HVAC use
Modify Temperatures
  66-70ºF for cooling
  72-76ºF for heating
  Potential savings $2,767 per year

## Slide 20: Recommended Energy Reduction and Control Measures
ERCM No.2: Install Wi-Fi Thermostats
Replace 15 thermostats with Wi-Fi thermostats
  Enable centralized temperature control
  Supports sequencing of controls
  Prevents overrides
Cost
  $150/250 per thermostat
  PG&E can offset cost by up to $75
Potential Savings for ERMC 1 and 2 |  |  | 
ERMC | Cost | Savings /Yr | Payback
1 | 0 | $3,000* | Instant
2 | $3,000 | $3.000* | 1 Year
* Measures 1 and 2 must occur together to achieve total savings of $3,000 |  |  | 

## Slide 21: Recommended Energy Reduction and Control Measures
ERCM No.3: Replace HVAC Units
Replace 7 HVAC Units
  Trinity has 15 HVAC Units
  7 have outlived their useful lives
Benefits of Replacement
  Increased efficiency
  Enable Trinity to convert from gas to electric heat to support carbon neutrality
  Estimated savings of $10,500 year in fuel expense.

## Slide 22: Recommended Energy Reduction and Control Measures
ERCM No.3: Replace HVAC Units - Continued
HVAC Units Recommended for Replacement |  |  | 
Zone | Year Installed | Tons | Cost
AC 1 | 1989 | 3 | $9,000
AC 2 | 1989 | 3 | $9,000
AC 3 | 1989 | 7.5 | $22,5000
AC 4 | 1989 | 10 | $30,000
AC 5 | 1989 | 5 | $15,000
AC 6 | 1989 | 4 | $12,000
AC 9 | 1989 | 15 | $45,000
AC 12 | 1989 | 5 | $15,000
TOTAL |  | 37.5 | $157,500
An annual cost–savings of $10,500 enables payback in 11 years.

## Slide 23: Recommended Energy Reduction and Control Measures
ERCM No.4: Replace Lighting with LEDs
Inefficient Lighting/Lamp Types Throughout Campus
  Many lights and lamps no longer manufactured
  Utility companies recommend replacing models to enhance efficiency.
  Replace with 2-lamp 13 or 15 walt LED linear fluorescents
Benefits of Replacement
  Decreased energy consumption (up to 80% less energy)
  Increased lifetime (5X longer life)

## Slide 24: Recommended Energy Reduction and Control Measures
ERCM No.4: Replace Lighting with LEDs - Continued
Existing and Proposed Lighting |  |  |  | 
No. of Fixtures | Existing Lamp | Replacement Lamp | Cost | 
3 | 60-watt Inc | 8-watt LED equivalent | $30 | 
106 | 32-watt T8 | 13-watt LED equivalent | $5,300 | 
4 | 40-watt T12 | 13-watt LED equivalent | $80 | 
TOTAL |  |  |  | $5,410

## Slide 25: Recommended Energy Reduction and Control Measures
ERCM No.5: Building Envelope
Proposed Maintenance, Retrofits, Improvements
  Doors: Upgrade weather stripping ($350)
  Insulation: 50% ceilings on top floor lack insulation

## Slide 26: Recommended Energy Reduction and Control Measures
ERCM No.6: Low-Cost Opportunities
Lights Turn off lights/install censors/modify behavior
Water From 1400 to 1200
Plug Load Install 5 adaptors ($20/each)
Commodes When replaced, install low-flow units
Awareness Provide ongoing education to staff and facility users.

## Slide 27: Trinity Study - Summary
Summary of Energy Cost Reduction Measures for Trinity Cathedral |  |  |  |  | 
Measure | Project |  | Cost ($) | Savings ($) | Payback (Years)
1 & 2 | Change sequence of operations (controls) |  | $3,000 | $3,000 | 1
3 | Replace older HVAC Units |  | $157,500 | $10,500 | 15
4 | Replace older lamps with LEDs |  | $5,410 | $1,082 | 5
5 | Weather strip doors, windows and insulation in 2nd Flr. |  | $5,350 | $535 | 10
6 | Pursue reduce water temperatures, turn of lights, install plug load adaptors, etc. |  | $0 | $250 | <1
TOTAL |  |  | $171,260 | $15,367 | 15

## Slide 28: What’s Next?
Four-part Process (Commission)
Form a Green Team
Measure our Carbon Footprint
Conduct an Energy Study
Develop a Plan for Carbon Neutrality

## Slide 29: Thought, Prayer, and Planning!
Step 1: Review What We Know
IPL Carbon Emission Categories
  Facility Operations
  Transportation
  Food
  Procurement
EfP Facility Recommendations
Other Considerations
  Planned facility improvements
  Behavior changes since COVID-19
    (e.g., Zoom v. in-person, gathering and meals, etc.)

## Slide 30: Thought, Prayer, and Planning!
Step 2: Consider Mission, Goals, and Values
Identify church missions and ministries, for example:
  Liturgy and Worship
  Community Outreach
  Spiritual Formation and Education
Would any of the reports/recommendations or creation care goals affect your mission and ministry?
  In-person gathering v. zoom meeting
  Paper v. electronic communication
  Community meals and outreach and dietary choices.

## Slide 31: Thought, Prayer, and Planning!
Step 2: Consider Mission, Goals, and Values
If conflicts arise, consider….
  Can we adapt ministries/practices to further Creation Care goals (e.g., schedules and formats)?
  Provide carbon offsets for targeted missions and ministries?

## Slide 32: Thought, Prayer, and Planning!
Step 3: Identify Creation Care Goals and Priorities
Identify specific goals and timeframes
  Short-range goals (Present to 1 year: 2023-24)
  Mid-range goals (Years 2 to 4: 2025-28)
  Long-range goals (>5 years: 2029 and beyond)
Create a budget for each goal
Consider available funding resources (grants)

## Slide 33: Thought, Prayer, and Planning!
Step 4: Allocate Resources and Budgets
Work closely with vestry and staff
Incorporate creation care measures into annual budget and facilities planning
Step 5: Document and Share Progress!
Document creation care meetings and decisions
Document vendor conversations
Track progress—including challenges and delays!

## Slide 34: Thought, Prayer, and Planning!
Step 5: Document and Share Progress – continued
Provide regular opportunities for prayer and sharing
Make creation care an agenda item across ministries
Reach out to other congregations to compare notes

## Slide 35: Tools From the Commission
Planning Tools
Templates for data sharing and planning
Finance/funding resources
Educational resources on climate care and carbon neutrality
A network of dedicated partners to call!

## Slide 36: And Remember…
We’re in this together!